## Sheet1
Median size | 40.29696 (ｵm)
Mean size | 47.67144 (ｵm)
Variance | 614.26 (ｵm2)
St. Dev. | 24.7843 (ｵm)
Mode size | 31.7765 (ｵm)
Span | Off
Geo. mean size | 42.2829 (ｵm)
Geo. variance | 1.1070 (ｵm2)
Diameter on cumulative % | (1)95.00 (%)- 95.8799 (ｵm) | (2)98.00 (%)- 113.4420 (ｵm)
D10 | 23.39755 (ｵm)
D90 | 82.34643 (ｵm)
D(v,0.1) | 23.39755 (ｵm)
D(v,0.5) | 40.29696 (ｵm)
D(v,0.9) | 82.34643 (ｵm)
COV of D(v,0.1) | 6.4904 (%)
COV of D(v,0.5) | 28.0408 (%)
COV of D(v,0.9) | 17.3933 (%)
ID# | 202305241501355
Transmittance (R) | 99.6 (%)
Transmittance (B) | 99.7 (%)
Ultrasound | Off
Circulation speed | Off
Agitation speed | Off
Iteration mode | Auto
Distribution base | Volume
Refractive index (R) | Polypropylene (PP)
[Polypropylene( 1.490 - 0.000i),water( 1.333)]
Refractive index (B) | Polypropylene (PP)
[Polypropylene( 1.490 - 0.000i),water( 1.333)]
Sample name | Polypropylene (PP) in water 10
Material | PP
Source | water
Lot number
Test or assay number | Test
Sample data acquisition times (R) | 15000
Sample data acquisition times (B) | 15000
Result file name | SLS_PP_10_WaterMedium_Waterbath_AVERAGE_VOLUME_CAG_24_5_2023<C>
Data name | SLS_PP_10_WaterMedium_Waterbath_AVERAGE_VOLUME_CAG_24_5_2023
Algorithm | General mode
Blank ID | 202305241328354
Diameter (ｵm) | q (%) | Undersize (%)
0.011 | 0 | 0
0.013 | 0 | 0
0.015 | 0 | 0
0.017 | 0 | 0
0.02 | 0 | 0
0.023 | 0 | 0
0.026 | 0 | 0
0.03 | 0 | 0
0.034 | 0 | 0
0.039 | 0 | 0
0.044 | 0 | 0
0.051 | 0 | 0
0.058 | 0 | 0
0.067 | 0 | 0
0.076 | 0 | 0
0.087 | 0 | 0
0.1 | 0 | 0
0.115 | 0 | 0
0.131 | 0 | 0
0.15 | 0 | 0
0.172 | 0 | 0
0.197 | 0 | 0
0.226 | 0 | 0
0.259 | 0 | 0
0.296 | 0 | 0
0.339 | 0 | 0
0.389 | 0 | 0
0.445 | 0 | 0
0.51 | 0 | 0
0.584 | 0 | 0
0.669 | 0 | 0
0.766 | 0 | 0
0.877 | 0 | 0
1.005 | 0 | 0
1.151 | 0 | 0
1.318 | 0 | 0
1.51 | 0 | 0
1.729 | 0 | 0
1.981 | 0 | 0
2.269 | 0 | 0
2.599 | 0 | 0
2.976 | 0 | 0
3.409 | 0 | 0
3.905 | 0 | 0
4.472 | 0 | 0
5.122 | 0 | 0
5.867 | 0 | 0
6.72 | 0 | 0
7.697 | 0 | 0
8.816 | 0 | 0
10.097 | 0 | 0
11.565 | 0.039 | 0.039
13.246 | 0.173 | 0.211
15.172 | 0.403 | 0.614
17.377 | 0.959 | 1.573
19.904 | 2.223 | 3.797
22.797 | 4.655 | 8.451
26.111 | 8.084 | 16.536
29.907 | 10.882 | 27.418
34.255 | 11.222 | 38.639
39.234 | 9.686 | 48.325
44.938 | 8.506 | 56.831
51.471 | 8.088 | 64.919
58.953 | 7.996 | 72.915
67.523 | 7.587 | 80.501
77.34 | 6.956 | 87.457
88.583 | 5.502 | 92.959
101.46 | 3.5 | 96.459
116.21 | 1.874 | 98.333
133.103 | 0.937 | 99.27
152.453 | 0.445 | 99.715
174.616 | 0.193 | 99.908
200 | 0.092 | 100
229.075 | 0 | 100
262.376 | 0 | 100
300.518 | 0 | 100
344.206 | 0 | 100
394.244 | 0 | 100
451.556 | 0 | 100
517.2 | 0 | 100
592.387 | 0 | 100
678.504 | 0 | 100
777.141 | 0 | 100
890.116 | 0 | 100
1019.515 | 0 | 100
1167.725 | 0 | 100
1337.481 | 0 | 100
1531.914 | 0 | 100
1754.613 | 0 | 100
2009.687 | 0 | 100
2301.841 | 0 | 100
2636.467 | 0 | 100
3019.738 | 0 | 100
3458.727 | 0 | 100
3961.533 | 0 | 100
4537.433 | 0 | 100
5000 | 0 | 100

## Volume
Diameter (µm) | q (%) | Undersize (%)
0.011 | 0 | 0
0.013 | 0 | 0
0.015 | 0 | 0
0.017 | 0 | 0
0.02 | 0 | 0
0.023 | 0 | 0
0.026 | 0 | 0
0.03 | 0 | 0
0.034 | 0 | 0
0.039 | 0 | 0
0.044 | 0 | 0
0.051 | 0 | 0
0.058 | 0 | 0
0.067 | 0 | 0
0.076 | 0 | 0
0.087 | 0 | 0
0.1 | 0 | 0
0.115 | 0 | 0
0.131 | 0 | 0
0.15 | 0 | 0
0.172 | 0 | 0
0.197 | 0 | 0
0.226 | 0 | 0
0.259 | 0 | 0
0.296 | 0 | 0
0.339 | 0 | 0
0.389 | 0 | 0
0.445 | 0 | 0
0.51 | 0 | 0
0.584 | 0 | 0
0.669 | 0 | 0
0.766 | 0 | 0
0.877 | 0 | 0
1.005 | 0 | 0
1.151 | 0 | 0
1.318 | 0 | 0
1.51 | 0 | 0
1.729 | 0 | 0
1.981 | 0 | 0
2.269 | 0 | 0
2.599 | 0 | 0
2.976 | 0 | 0
3.409 | 0 | 0
3.905 | 0 | 0
4.472 | 0 | 0
5.122 | 0 | 0
5.867 | 0 | 0
6.72 | 0 | 0
7.697 | 0 | 0
8.816 | 0 | 0
10.097 | 0 | 0
11.565 | 0.039 | 0.039
13.246 | 0.173 | 0.211
15.172 | 0.403 | 0.614
17.377 | 0.959 | 1.573
19.904 | 2.223 | 3.797
22.797 | 4.655 | 8.451
26.111 | 8.084 | 16.536
29.907 | 10.882 | 27.418
34.255 | 11.222 | 38.639
39.234 | 9.686 | 48.325
44.938 | 8.506 | 56.831
51.471 | 8.088 | 64.919
58.953 | 7.996 | 72.915
67.523 | 7.587 | 80.501
77.34 | 6.956 | 87.457
88.583 | 5.502 | 92.959
101.46 | 3.5 | 96.459
116.21 | 1.874 | 98.333
133.103 | 0.937 | 99.27
152.453 | 0.445 | 99.715
174.616 | 0.193 | 99.908
200 | 0.092 | 100
229.075 | 0 | 100
262.376 | 0 | 100
300.518 | 0 | 100
344.206 | 0 | 100
394.244 | 0 | 100
451.556 | 0 | 100
517.2 | 0 | 100
592.387 | 0 | 100
678.504 | 0 | 100
777.141 | 0 | 100
890.116 | 0 | 100
1019.515 | 0 | 100
1167.725 | 0 | 100
1337.481 | 0 | 100
1531.914 | 0 | 100
1754.613 | 0 | 100
2009.687 | 0 | 100
2301.841 | 0 | 100
2636.467 | 0 | 100
3019.738 | 0 | 100
3458.727 | 0 | 100
3961.533 | 0 | 100
4537.433 | 0 | 100
5000 | 0 | 100

## Sheet2
Median size | 24.82690 (ｵm)
Mean size | 26.36046 (ｵm)
Variance | 84.866 (ｵm2)
St. Dev. | 9.2123 (ｵm)
Mode size | 24.5347 (ｵm)
Span | Off
Geo. mean size | 25.0134 (ｵm)
Geo. variance | 1.0448 (ｵm2)
Diameter on cumulative % | (1)95.00 (%)- 43.4031 (ｵm) | (2)98.00 (%)- 52.9362 (ｵm)
D10 | 16.70609 (ｵm)
D90 | 37.22927 (ｵm)
D(v,0.1) | 22.95790 (ｵm)
D(v,0.5) | 35.38303 (ｵm)
D(v,0.9) | 71.60055 (ｵm)
COV of D(v,0.1) | 0.4824 (%)
COV of D(v,0.5) | 1.3387 (%)
COV of D(v,0.9) | 6.0053 (%)
ID# | 202305241501356
Transmittance (R) | 99.7 (%)
Transmittance (B) | 99.8 (%)
Ultrasound | Off
Circulation speed | Off
Agitation speed | Off
Iteration mode | Auto
Distribution base | Number
Refractive index (R) | Polypropylene (PP)
[Polypropylene( 1.490 - 0.000i),water( 1.333)]
Refractive index (B) | Polypropylene (PP)
[Polypropylene( 1.490 - 0.000i),water( 1.333)]
Sample name | Polypropylene (PP) in water 10
Material | PP
Source | water
Lot number
Test or assay number | Test
Sample data acquisition times (R) | 15000
Sample data acquisition times (B) | 15000
Result file name | SLS_PP_10_WaterMedium_Waterbath_AVERAGE_NUMBER_CAG_24_5_2023<C>
Data name | SLS_PP_10_WaterMedium_Waterbath_AVERAGE_NUMBER_CAG_24_5_2023
Algorithm | General mode
Blank ID | 202305241328354
Diameter (ｵm) | q (%) | Undersize (%)
0.011 | 0 | 0
0.013 | 0 | 0
0.015 | 0 | 0
0.017 | 0 | 0
0.02 | 0 | 0
0.023 | 0 | 0
0.026 | 0 | 0
0.03 | 0 | 0
0.034 | 0 | 0
0.039 | 0 | 0
0.044 | 0 | 0
0.051 | 0 | 0
0.058 | 0 | 0
0.067 | 0 | 0
0.076 | 0 | 0
0.087 | 0 | 0
0.1 | 0 | 0
0.115 | 0 | 0
0.131 | 0 | 0
0.15 | 0 | 0
0.172 | 0 | 0
0.197 | 0 | 0
0.226 | 0 | 0
0.259 | 0 | 0
0.296 | 0 | 0
0.339 | 0 | 0
0.389 | 0 | 0
0.445 | 0 | 0
0.51 | 0 | 0
0.584 | 0 | 0
0.669 | 0 | 0
0.766 | 0 | 0
0.877 | 0 | 0
1.005 | 0 | 0
1.151 | 0 | 0
1.318 | 0 | 0
1.51 | 0 | 0
1.729 | 0 | 0
1.981 | 0 | 0
2.269 | 0 | 0
2.599 | 0 | 0
2.976 | 0 | 0
3.409 | 0 | 0
3.905 | 0 | 0
4.472 | 0 | 0
5.122 | 0 | 0
5.867 | 0 | 0
6.72 | 0 | 0
7.697 | 0 | 0
8.816 | 0 | 0
10.097 | 0 | 0
11.565 | 0 | 0
13.246 | 2.053 | 2.053
15.172 | 3.531 | 5.584
17.377 | 6.222 | 11.806
19.904 | 10.529 | 22.335
22.797 | 15.732 | 38.066
26.111 | 18.99 | 57.056
29.907 | 17.296 | 74.352
34.255 | 11.723 | 86.075
39.234 | 6.397 | 92.472
44.938 | 3.398 | 95.87
51.471 | 1.902 | 97.772
58.953 | 1.102 | 98.874
67.523 | 0.621 | 99.495
77.34 | 0.34 | 99.835
88.583 | 0.165 | 100
101.46 | 0 | 100
116.21 | 0 | 100
133.103 | 0 | 100
152.453 | 0 | 100
174.616 | 0 | 100
200 | 0 | 100
229.075 | 0 | 100
262.376 | 0 | 100
300.518 | 0 | 100
344.206 | 0 | 100
394.244 | 0 | 100
451.556 | 0 | 100
517.2 | 0 | 100
592.387 | 0 | 100
678.504 | 0 | 100
777.141 | 0 | 100
890.116 | 0 | 100
1019.515 | 0 | 100
1167.725 | 0 | 100
1337.481 | 0 | 100
1531.914 | 0 | 100
1754.613 | 0 | 100
2009.687 | 0 | 100
2301.841 | 0 | 100
2636.467 | 0 | 100
3019.738 | 0 | 100
3458.727 | 0 | 100
3961.533 | 0 | 100
4537.433 | 0 | 100
5000 | 0 | 100

## Number
Diameter (µm) | q (%) | Undersize (%)
0.011 |  | 0
0.013 | 0 | 0
0.015 | 0 | 0
0.017 | 0 | 0
0.02 | 0 | 0
0.023 | 0 | 0
0.026 | 0 | 0
0.03 | 0 | 0
0.034 | 0 | 0
0.039 | 0 | 0
0.044 | 0 | 0
0.051 | 0 | 0
0.058 | 0 | 0
0.067 | 0 | 0
0.076 | 0 | 0
0.087 | 0 | 0
0.1 | 0 | 0
0.115 | 0 | 0
0.131 | 0 | 0
0.15 | 0 | 0
0.172 | 0 | 0
0.197 | 0 | 0
0.226 | 0 | 0
0.259 | 0 | 0
0.296 | 0 | 0
0.339 | 0 | 0
0.389 | 0 | 0
0.445 | 0 | 0
0.51 | 0 | 0
0.584 | 0 | 0
0.669 | 0 | 0
0.766 | 0 | 0
0.877 | 0 | 0
1.005 | 0 | 0
1.151 | 0 | 0
1.318 | 0 | 0
1.51 | 0 | 0
1.729 | 0 | 0
1.981 | 0 | 0
2.269 | 0 | 0
2.599 | 0 | 0
2.976 | 0 | 0
3.409 | 0 | 0
3.905 | 0 | 0
4.472 | 0 | 0
5.122 | 0 | 0
5.867 | 0 | 0
6.72 | 0 | 0
7.697 | 0 | 0
8.816 | 0 | 0
10.097 | 0 | 0
11.565 | 0 | 0
13.246 | 2.053 | 2.053
15.172 | 3.531 | 5.584
17.377 | 6.222 | 11.806
19.904 | 10.529 | 22.335
22.797 | 15.732 | 38.066
26.111 | 18.99 | 57.056
29.907 | 17.296 | 74.352
34.255 | 11.723 | 86.075
39.234 | 6.397 | 92.472
44.938 | 3.398 | 95.87
51.471 | 1.902 | 97.772
58.953 | 1.102 | 98.874
67.523 | 0.621 | 99.495
77.34 | 0.34 | 99.835
88.583 | 0.165 | 100
101.46 | 0 | 100
116.21 | 0 | 100
133.103 | 0 | 100
152.453 | 0 | 100
174.616 | 0 | 100
200 | 0 | 100
229.075 | 0 | 100
262.376 | 0 | 100
300.518 | 0 | 100
344.206 | 0 | 100
394.244 | 0 | 100
451.556 | 0 | 100
517.2 | 0 | 100
592.387 | 0 | 100
678.504 | 0 | 100
777.141 | 0 | 100
890.116 | 0 | 100
1019.515 | 0 | 100
1167.725 | 0 | 100
1337.481 | 0 | 100
1531.914 | 0 | 100
1754.613 | 0 | 100
2009.687 | 0 | 100
2301.841 | 0 | 100
2636.467 | 0 | 100
3019.738 | 0 | 100
3458.727 | 0 | 100
3961.533 | 0 | 100
4537.433 | 0 | 100
5000 | 0 | 100